weight(real) = weight(measured) + (temperature(actual) – temperature(base))/factor

temperature(base): temperature at which you made the calibration

factor: is the facto you evaluated with the trendline in a weight(x-axis)/temperature(y-axis)-diagram

factor = 3,7619